## Slide 1: Connectivity DICOM - ISP
Archana
Medical Software Reg No. 111001006

## Slide 2: Agenda
Overview Of Hospital Workflow
Overview of Radiology workflow – inline with portal
What Is Philips IntelliSpace Portal ?
Connectivity
DICOM
Project Phases & Testing
DICOM testing
Work Done
Additional work
Learning's
References

## Slide 3: Overview Of Hospital workflow

## Slide 4: What Is Philips IntelliSpace Portal ?
A Workstation Software on windows platform.
Enterprise product providing integrated clinical solutions :
  that’s multimodality, and multivendor.
Offers Advanced Visualization diagnosis by:
    Turning any PC into an advanced visualization platform.
  Visualization software, 3D Tools.
Rich clinical applications :
  access to more than 30 advanced clinical applications via a single workspace.
Powerful thin-client solution for Portability :
  offers the flexibility to diagnose and collaborate virtually anytime/anywhere.
  Work from preferred environment to analyze, manipulate & review locally.
  IntelliSpace Portal in action(you tube video).wmv

## Slide 5: Cont.…
Collaborative Workflow :
  IntelliSpace Portal Web Collaborator, provides virtually instant access to
  peers & specialists around the world by using a standard web browser.
Integration with PACS through Plug-in:
  Interfaces for integration with Philips PACS and other vendors PACS through sever.
  providing simplicity and scalability reducing the need to acquire multiple workstations by modality.
Philips award winning thin-client solution which is intuitive and easy-to-use has been ranked #1 by KLAS in its 2008 and 2010 “Top 20 Best in KLAS Awards: Software & Professional Services” for Advanced Visualization.
Easy to Access :
  Increases flow of information between technologist, radiologist, referring physician and specialists helps improve patient care and increase
  diagnostic confidence.

## Slide 6
Fig.. Philips IntelliSpace in a DICOM network
Client 1
Client 15
..…
..…

## Slide 7: Complexity
Support ‘s Multi-vendor/modality/Resolution/ monitor .
Security
Privacy
Safety[RMF Hazard Scenario]
Different system configurations in servers :
  HX
  DX
  EX
  High Availability
Different upgrades installations in servers :
  Backup-restore.
  Quick upgrade.

## Slide 8: ICAP - System Verification Team
  We are the Final Gate before the product gets into Market.
Entire Product is divided into below teams :
System & Platform Team
NM Apps
CT Apps
MR Apps

## Slide 9: Project Phases & Testing
  We are the Final Gate before the product gets into Market.
    Beta1 -> Beta 2 -> Beta 3 -> Beta 4 ->RfLD ->RfVD.
The product goes through Below Phases Before Going to Market :
      Integration Phase:
        product is still in WIP.
      Sub-System Phase:
        It is a Functional Product.
TESTING PERFORMED
Integration
TESTING PERFORMED
Functional
Regression
Exploratory

## Slide 10: Cont.…
System Phase:
  Enterprise product.
  We follow iterative V - Model, software development life cycle model.
TESTING PERFORMED
Compatibility
Stress
Performance
Multi-Client

## Slide 11
Patient Directory

## Slide 12: Fig.. Finding ROI by Applications

## Slide 13: Work Done
  Data Validation
  Image Database & Rebuild
  Removable Device[CD/DVD , USB, DVD-RAM]
  Free Space & Auto Delete
  Preferences
  Multi Client Enterprise Aspects
  Installation & Smoke Testing on ISO

## Slide 14
Data Validation
Every image Supported & Created by portal is DICOM compliant.
Challenges :
  Multi-Modality & Multi-Vendor Support(to create each & every o/p).
  Run DVTK & Analyze the results with developer/interoperability teams.
  Image Database & Rebuild
  DB integrity check is a fast test that runs over the DB to verify that there are no problems
  with it and in case there are it corrects it.
  Bad Folder
  Challenges :
  Last accessed time.
  Logs
  Verification Check point.
  Disk Space.

## Slide 15
  Removable Device[CD/DVD , USB, DVD-RAM]
  Used for different purposes :
    Record, store, analysis for, diagnosis in :
      Hospital records/research/radiologist/clinicians/Patients.
  Challenges :
    Multi vendor, Multi-Speed disks & Hardware's in market.
    DICOM viewer.
    Generic test cases in past were removed and performed test case design.
    Windows compatible operations Defects.
    Connectivity as burning is done on the client while the original data is stored in server.
  Free Space & Auto Delete
  Portal automated task :
    Maintain a continuous workflow.
  Challenges :
    Relevant data not been deleted.
    User cannot tolerate a fully occupied database.
    Planning [deletion mechanism, timing].
    Verification Check point [No predefined values].
    Recognitions : Spot Award.msg Appreciation.msg

## Slide 16
  Preferences
  Allow each user to personalize how applications should
    behave for his workflow.
  Preferences is carried over when user logs in any machine.
  Challenges :
  To check if the user setting is retained has applied and not applied for others.
  lack of definitions to testers.
  Checks in Upgrade servers if configuration is correct.
  Multi - Client Enterprise Aspects(15 Clients Support)
We Promise enterprise solutions between :
    Departments.
    Enterprise.
    PACS(Plug-in).
Challenges :
    System Performance & Stress.
    System level thinking.
    User Privileges.
    System Connectivity.

## Slide 17: Installation & Smoke Testing on ISO
Weekly installation.
Upgrade from previous versions.
Challenges :
    Verifying for broken release in upgrades.
    Configurations & Connectivity.
Smoke testing for accepting the build for verification.
    improves productivity.
    avoids rework/re-testing.

## Slide 18: Other Products
EBW 4.5
Portal 2.6
Isite PACS
Sectra PACS

## Slide 19: Learning's
  DICOM Standards
  Software Test Life Cycle
  Clinical Relevance to Imaging System
  Traceability
  Real World Requirements In Imaging Industry :
        What was Previous workflow & What can be potential for Future ?

## Slide 20: References
  www.youtube.com/watch?v=gAfx9fzRzAQ
  www.healthcare.philips.com/main/products/Solutions/IntelliSpaceportal
  www.healthcare.philips.com/in/products
  www.onestoptesting.com

## Slide 21: Q & A

## Slide 22
Thank You